## Asset Risk Summary
building_id | asset_id | asset_type | max_load_percent | average_load_percent | max_power_kw | min_capacity_margin_kw | warning_hours | high_risk_hours | sustained_high_load_hours | equipment_risk_index | normalized_risk_score | equipment_risk_category
Building_A | Lighting_Panel_A1 | Lighting Panel | 75.89 | 36.93 | 34.15 | 10.85 | 3 | 0 | 0 | 7.425 | 10 | Low Risk
Building_A | Main_Panel_A1 | Main Panel | 105.74 | 57.17 | 105.74 | -5.74 | 181 | 7 | 142 | 65.258 | 90 | High Risk
Building_A | Transformer_A1 | Transformer | 109.11 | 56.56 | 163.66 | -13.66 | 149 | 6 | 131 | 58.623 | 80.82 | Midium Risk
Building_B | HVAC_Panel_B1 | HVAC Panel | 103.65 | 50.64 | 77.74 | -2.74 | 161 | 3 | 105 | 53.593 | 73.86 | Midium Risk
Building_B | Main_Panel_B1 | Main Panel | 105.78 | 57.07 | 95.2 | -5.2 | 162 | 6 | 132 | 60.492 | 83.41 | Midium Risk
Building_B | Transformer_B1 | Transformer | 107.47 | 56.5 | 139.71 | -9.71 | 154 | 6 | 131 | 59.197 | 81.62 | Midium Risk
Building_C | EV_Charger_Panel_C1 | EV Charger Panel | 82.93 | 48.08 | 66.34 | 13.66 | 89 | 1 | 0 | 23.659 | 32.46 | Low Risk
Building_C | Main_Panel_C1 | Main Panel | 108.02 | 57.14 | 118.82 | -8.82 | 164 | 3 | 136 | 60.43 | 83.32 | Midium Risk
| risk type | risk proportion
| max_load_percent | 0.1
| average_load_percent | 0.2
| warning_hours | 0.15
| high_risk_hours | 0.4
| sustained_high_load_hours | 0.15
| Total | 1

## Dashboard
Electrical Load Risk Dashboard
| Rank | Asset ID | Asset Type | Score | Risk Level
| 1 | Main_Panel_A1 | Main Panel | 90 | High Risk
| 2 | Main_Panel_B1 | Main Panel | 83.41 | Midium Risk
| 3 | Main_Panel_C1 | Main Panel | 83.32 | Midium Risk
| 4 | Transformer_B1 | Transformer | 81.62 | Midium Risk
| 5 | Transformer_A1 | Transformer | 80.82 | Midium Risk
Risk level definition
| High Risk: |  | >=85
| Medium Risk: |  | 40-84.99
| Low Risk: |  | <40
This dashboard summarizes relative equipment risk using normalized risk score and risk event hours from simulated electrical load data.